Hackbridge & Beddington Corner

Neighbourhood Development Group

hackbridgeandbc@gmail.com

www.hackbridgendg.com

Kate Stewart

BDW Kent

Weald House

88 Main Road

Sundridge

Kent

TN14 6ER						10 December 2015

Dear Kate

Re:  Felnex development, Hackbridge, Surrey

Thank you for the pre-meeting on 4 November 2015.

Following the more detailed exhibition on 24 November 2015, we are now able to provide a more comprehensive response to the scheme.

Our initial impressions of the scheme are far from positive.  It is apparent that the issues we raised both at the pre-meeting and as a series of comments on the previous Phase 1 proposed scheme, have not been addressed and that no consideration has been given to the aims outlined in our draft neighbourhood plan. This is very disappointing since the information was made readily available, directly in the form of comments and documentation, and then again online on our website.

We appreciate that you have come on-board late to this scheme and therefore your timescales are tight, but holding a public exhibition only a few weeks before a reserved matters application is submitted is not appropriate for such a significant project.  We are very concerned that this will not leave enough time to take on board comments from the local community, which is not acceptable considering the major impact this will have on Hackbridge and its residents.

For ease of reference, we have put key points of concern below:-

Breakdown of dwelling types

Thank you for sending through your proposed tenure and we note that this is a moving target.  We would however like to know how you have come to the breakdown of dwelling types?

Scale

The shape and scale of the buildings fronting London Road and the flats fronting Hackbridge Road are overbearing, bland in shape and materials, which exacerbate the scale and is more in keeping with an industrial building.

London Road & Victorian cottages

We are particularly concerned with the buildings facing London Road and acknowledge that there are three blocks instead of one long block, but the uniform materials still give the impression of a single long wall.

In addition, we do not have a complete elevation of London Road and a cross section to the Victorian cottages opposite, which is required to appreciate how these have been taken into consideration.  This is particularly pertinent as the whole site is now being put forward for planning, rather than in phases.

Please confirm there will be a plaza in front of the assisted living on London Road. There is some concern that the footprint of the building will come as close to London Road as Saxon House. This would further make the assisted living accommodation too overbearing, whereas a plaza in front of it would soften its impact on the neighbourhood.

Hackbridge Road

Whilst we acknowledge some sensitivity opposite the Grade II listed cottages, the design of the houses lacks architectural interest.  No distinction is made of individual terraces; it reads more as a single block of units than terrace houses.  The block of flats, further along, suffer from the same problem as the London Road flats in so far as the shape and materials exacerbate the overbearing mass.

Materials

Hard landscaping

As stated above the use of materials shown in the visuals is uniform and lacking in textual colour.  We are disappointed that the flat roofs have not been used to full potential by incorporating green roofs or solar panels.

There is a lack of materials to soften the buildings ie natural materials, solar shading, canopies and vertical living walls.

Soft landscaping

We were disappointed that there was no Landscape Architect at the exhibition able to answer questions, particularly about biodiversity of the proposed landscaping scheme.

As discussed at our initial meeting, we would like the mature trees on London Road to be safeguarded.  As these are at the boundary of the site, good design can be worked around them.

There are no details of soft landscaping to the whole development, apart from the middle square.

Assisted Living Homes

The building, which has now been assigned as assisted living, comprising of 84 dwellings presents its own concerns as follows:

- What drove your decision to change the plan from a three-storey, 90-bed care home to provision for 84 independent living apartments on four storeys in three blocks?

- We understand that this will be a privately run enterprise, will this meet local needs?  Where is your evidence base?

- We would like our older residents to stay in our community, so will affordable care be made available?

- By moving the care home from Hackbridge Road to assisted living on London Road, the plan seems to have lost a plaza (shown on the outline plan along the Felnex Road), which would provide important public realm space. This, we understood, is where the bus interchange was to be developed. Where will the bus interchange be in your revised plan?

- By changing from the originally proposed care home to 84 assisted living dwellings, it seems you are proposing to increase the housing density of the whole development. By how much, please?

- Hackbridge Primary School – it was not clear from the visuals displayed at the public exhibition, whether the buildings will cast shadows over the playgrounds and reduce light to class rooms.  In addition, an important point to raise at this stage is the issue of how the school will be overlooked.  This was and remains a significant issue in respect of Saxon House and it is imperative that this is dealt with at the design stage and fully implemented during the construction.

Supermarket

We have already highlighted our concern about the scale and form of the building.  Having two floors of retail, equates to more than two floors of residential, thereby resulting in this building being over the permitted six-storey height for this development.

Regarding, the difficulty of getting a retailer to sign up, does it not appear to be a redundant business model?

Previous application (Phase 1 application June 2014) made more of a provision for pedestrians and cyclists using the change in levels along the London Road Bridge.  This new proposal appears to have taken a backward step in that the whole design is catered towards those travelling by car; ie the supermarket is forced to be located on a mezzanine level just because the possible retailer does not want shoppers visiting by car to have to drive into a basement carpark. Should the retailer vacate this location in the future, how would this space be adapted to attract other retailers/businesses if there is a lack of direct access and visual links to the street?

As a consequence the shop frontage on London Road is obstructed by a travellator and the frontage to the side road is a blank wall incorporating the entrance to the supermarket car park. Neither of these can be called active.  Unfortunately the 3D visual on the exhibition boards shows the side elevation is dark shadows, so it is unclear if there are any other entrances/openings.  It was mentioned that street art will be incorporated along the side elevation and this is welcomed, but no details were provided to ensure this would be sufficient to counteract what is stark blank frontage, forming part of the most prominent corner to the development. How this corner is treated will either help improve or further weaken the quality of the public realm to Hackbridge corner, which is already weakened by the vacant frontage to Saxon House.

Bus interchange

This was allowed for in the outline application with Section 106 money set aside to facilitate this.  This will relieve pressure on an already busy road.

However, with the new proposals for this area, please can you clarify what the interchange will comprise of, especially as the area designated for this interchange incorporated public realm in the outline permission, which has now been replaced by the assisted living block?

The NDG would like to see something more innovative provided, ie edible bus stop to create a unique feature for the public realm of the proposed development. (Ref: http://theediblebusstop.org/)

Energy strategy

No information was provided to confirm the energy strategy for the proposed development. This is disappointing since Hackbridge is earmarked by Sutton Council to be an exemplar sustainable suburb. As a consequence any new development proposal in Hackbridge should incorporate innovative solutions to reduce the energy consumption of the occupied buildings.

From discussions at the public exhibition it seems that your energy strategy relies solely on heat being provided from the incinerator to reduce co2 emissions from the development. This would only deal with one aspect of energy consumption of the dwellings.

- Why are solar panels not being incorporated to provide some renewable energy?

- Have the houses and flats been designed to maximise solar gains - this is after all free heat energy from the sun that could reduce the need to heat the dwellings in the cooler months?

- Has summer overheating been considered and solar shading provided to south and west facing windows?

- Why is grey water not being recycled to reduce water consumption?

More information is required to confirm how the energy strategy for the proposed scheme is being dealt with.

General comments

We are still very concerned about the overall height, particularly of the perimeter buildings, which effectively make a wall around the development, not encouraging existing residents into the area.

Are all roads on the estate to be adopted?

There is obviously a risk that drivers will be tempted to use the development as a rat run? How do you plan to discourage this?

It is important that trees already in place should be safeguarded.  Please assure us that this is being done.

We welcome development activity in Hackbridge but we believe that you can do better and that Hackbridge deserves better.

You may wish to ensure that the points we have highlighted form part of your submission to Sutton Council, whom we have copied in to this letter.

Yours sincerely

Helena Barrowclough

Chair

Cc	James Dunne – Barratt Homes

Councillor Richard Clifton – Chair, Sutton Council Planning Committee

Sally Blomfield – Sutton Council

Dean James – Sutton Council

Margaret Court, Local Councillor

Jason Reynolds, Local Councillor

Hanna Zuchowska, Local Councillor